## Sheet1
Parameter | Detection Limit (MDL/PQL) | MCL Standard** | MCL Goal (MCLG) ** | 2º MCL** | Other Standard** | Site 1a | Site 2a | Site 3a | Site 4a | Site 5a | Site 6a | Site 7a | Parameters | Site 8a | Site 9a | Site 10a | Site 11a | Site 12a | Site 13a | Site 14a | Site 15a | Column1
Collection Date | [5 empty] | 2018-08-21 | 2018-05-31 | 2018-08-21 | 2018-08-21 | 2018-05-31 | 2018-08-21 | 2018-08-21 | Collection Date | 2018-08-21 | 2018-08-21 | 2018-08-21 | 2018-05-30 | 2018-05-30 | 2018-05-30 | 2018-05-31 | 2018-05-30
Miscellaneous | [12 empty] | Miscellaneous
Field pH |  |  |  | 6.5-8.5 |  | 7.02 | 6.78 | 6.4 | 6.71 | 6.4 | 4.68 | 6.03 | Field pH | 6.01 | 6.23 | 6.02 | 5.81 | 6.28 | 5 | 6.4 | 6.77
Hardness [mg/L] | 1.00/1.00 |  |  |  | See notes | 87.2 | 123 | 9.2 | 206 | 66.9 | 8.85 | 28.2 | Hardness [mg/L] | 19.6 | 26.9 | 17.6 | 21 | 59.4 | 1.23 | 81.6 | 83.3
Turbidity [NTU] | NA/.50 |  |  |  | <1-5 | 3.02 | ND | 2.76 | 6.41 | ND | 2.61 | ND | Turbidity [NTU] | ND | 0.51 | ND | ND | 20.6 | ND | ND | 2.06
E-Coli | NA/NA | 0 ψ | 0 |  |  | Present | Absent | Present | Absent | Absent | Absent | Absent | E-Coli | Absent | Absent | Absent | Absent | Present | Absent | Present | Absent
Total Coliform | NA/NA | 5.0% ψ | 0 |  |  | Present | Absent | Present | Absent | Present | Absent | Present | Total Coliform | Absent | Present | Absent | Absent | Present | Present | Present | Absent
Total Dissloved Solids [mg/L] | 0.5 |  |  | 500 |  | 146 | 147 | 14 | 274 | 72 | 36 | 36 | Total Dissloved Solids [mg/L] | 31 | 39 | 41 | 35 | 139 | 7 | 95 | 121
Alkalinity [mg/L] | NA/20.0 |  |  |  | 150-200 | 79.9 | 118 | 11.6 | 209 | 64.4 | 10.1 | 31.2 | Alkalinity [mg/L] | 24.8 | 32.7 | 25.1 | 24.9 | 57.7 | 24.9 | 84.8 | 92.3
Metals [mg/L] | [12 empty] | Metals [mg/L]
Aluminum | 0.006/0.100 |  |  | 0.05-.2 |  | 0.191 | ND | 0.089 | ND | ND | 0.022 | ND | Aluminum | ND | 0.776 | 0.007 | 0.007 | 1.83 | 0.03 | ND | ND
Barium | 0.002/0.100 | 2 | 2 |  |  | 0.044 | 0.054 | 0.008 | 0.075 | 0.019 | 0.025 | 0.059 | Barium | ND | 0.025 | ND | 0.02 | 0.037 | 0.011 | 0.01 | 0.012
Calcium | 0.050/1.00 |  |  |  |  | 26.1 | 33.4 | 1.69 | 63 | 23.8 | 1.7 | 7.72 | Calcium | 4.77 | 4.94 | 4.63 | 4.56 | 21.3 | 0.087 | 19.6 | 26.1
Iron | 0.010/0.100 |  |  | 0.3 |  | 0.299 | ND | 0.928 | 0.82 | 0.016 | 0.299 | ND | Iron | ND | 0.806 | 0.017 | ND | 2.64 | ND | ND | 0.711
Lithium | 0.040/0.100 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Lithium | bar: Site 8a to Site 15a
Magnesium | 0.050/0.500 |  |  |  |  | 5.36 | 9.69 | 1.21 | 11.9 | 1.82 | 1.12 | 2.17 | Magnesium | 1.87 | 3.54 | 1.46 | 2.34 | 1.5 | 0.299 | 7.94 | 4.38
Manganese | 0.003/0.100 |  |  | 0.05 |  | 0.02 | ND | 0.017 | 1.19 | 0.007 | 0.026 | 0.017 | Manganese | 0.013 | 0.18 | 0.008 | 0.005 | 0.003 | 0.019 | ND | 0.149
Nickel | 0.007/0.100 |  |  |  | 0.7 | ND | ND | ND | 0.012 | ND | ND | ND | Nickel | bar: Site 8a to Site 15a
Potassium | 0.070/0.500 |  |  |  |  | 2.58 | 0.281 | 0.321 | 0.845 | 0.132 | 0.177 | 0.203 | Potassium | 0.251 | 0.378 | 0.654 | 0.442 | 1.55 | 0.184 | 0.923 | 2.59
Selenium | 0.020/0.200 | 0.05 | 0.05 |  |  | ND | ND | ND | ND | ND | ND | ND | Selenium | bar: Site 8a to Site 15a
Silica [as SiO2] | 0.100/0.210 |  |  |  |  | 6.4 | 8.52 | 9.49 | 22.1 | 14.2 | 13 | 14.6 | Silica [as SiO2] | 21.3 | 16.2 | 27.7 | 25.5 | 10.9 | 6.29 | 19.9 | 35.1
Sodium | 0.100/1.00 |  |  |  | 4-20 | 15 | 1.85 | 1.63 | 11.8 | 2.04 | 6.76 | 2.91 | Sodium | 4.02 | 2.01 | 4.13 | 2.77 | 21.8 | 0.901 | 3.68 | 7.47
Strontium | 0.001/0.100 |  |  |  | 20 | 0.117 | 0.143 | 0.012 | 0.485 | 0.031 | 0.008 | 0.105 | Strontium | 0.057 | 0.533 | 0.041 | 0.048 | 0.05 | 0.002 | 0.046 | 0.134
Zinc | 0.004/0.050 |  |  | 5 |  | 0.007 | 0.011 | 0.005 | 0.02 | 0.022 | 0.046 | 0.033 | Zinc | 0.13 | 0.025 | 0.009 | 0.035 | 0.081 | 0.016 | 0.01 | 0.031
Antimony | 0.0003/0.0010 | 0.006 | 0.006 |  |  | 0.0003 | 0.0003 | ND | ND | ND | ND | ND | Antimony | 0.0003 | ND | 0.0003 | ND | ND | ND | ND | ND
Arsenic | 0.0010/0.0050 | 0.01 | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Arsenic | ND | ND | ND | ND | 0.0016 | ND | ND | ND
Beryllium | 0.0002/0.0010 | 0.004 | 0.004 |  |  | ND | ND | ND | ND | ND | ND | ND | Beryllium | bar: Site 8a to Site 15a
Cadmium | 0.0002/0.0010 | 0.005 | 0.005 |  |  | ND | ND | ND | ND | ND | ND | ND | Cadmium | bar: Site 8a to Site 15a
Chromium | 0.0010/0.0050 | 0.1 | 0.1 |  |  | ND | ND | ND | ND | ND | ND | ND | Chromium | ND | ND | ND | 0.007 | 0.0031 | ND | ND | ND
Copper | 0.0010/0.0050 | 1.3 | 1.3 | 1 |  | 0.001 | 0.0141 | ND | 0.024 | 0.0155 | 0.0387 | 0.0534 | Copper | 0.0052 | 0.0282 | 0.0226 | 0.0439 | 0.0237 | 0.0381 | 0.0083 | 0.001
Lead | 0.0002/0.0010 | 0.015 | 0 |  |  | 0.0004 | 0.0008 | 0.0002 | 0.0004 | 0.0004 | 0.0022 | 0.0011 | Lead | 0.0006 | 0.0013 | 0.0004 | 0.0055 | 0.0031 | 0.0029 | 0.0003 | ND
Silver | 0.0010/0.0050 |  |  | 0.1 |  | ND | ND | ND | ND | ND | ND | ND | Silver | bar: Site 8a to Site 15a
Mercury | 0.0001/0.0010 | 0.002 | 0.002 |  |  | ND | ND | ND | ND | ND | 0.0001 | ND | Mercury | bar: Site 8a to Site 15a
Inorganics - Anions [mg/L] | [12 empty] | Inorganics - Anions [mg/L]
Bromide | 0.05/0.10 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromide | bar: Site 8a to Site 15a
Chloride | 0.20/1.00 |  |  | 250 |  | 8.41 | 2.56 | 0.81 | 11.1 | 0.96 | 3.66 | 1.09 | Chloride | 0.97 | 0.69 | 0.95 | 1.14 | 29.8 | 1.11 | 1.95 | 1.06
Fluoride | 0.05/0.20 | 4 | 4 | 2 |  | 0.05 | 2.12 | ND | 0.05 | ND | ND | ND | Fluoride | ND | ND | 0.05 | ND | 0.26 | ND | ND | 0.15
Sulfate | 1.00/5.00 |  |  | 250 |  | 26.9 | 6.86 | ND | 9.11 | ND | ND | 1.27 | Sulfate | ND | ND | 1.95 | ND | 4.68 | ND | 1.27 | 6.4
Nitrogen, Nitrate | 0.04/0.20 | 10 | 10 |  |  | 0.03 | 0.43 | 0.06 | 0.05 | ND | 2.17 | 0.28 | Nitrogen, Nitrate | 0.59 | ND | 0.04 | 0.04 | 0.3 | 0.03 | 0.24 | ND
Nitrogen, Nitrite | 0.05/0.50 | 1 | 1 |  |  | ND | ND | ND | ND | ND | ND | ND | Nitrogen, Nitrite | bar: Site 8a to Site 15a
Orthophosphate [As P] | 0.05/0.10 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Orthophosphate [As P] | ND | 0.05 | 0.08 | ND | ND | ND | ND | ND
Semi-volatile Organics [υg/L] | [12 empty] | Semi-volatile Organics [mg/L]
1-2-Dibromo-3-chloropropane [DBCP] | 0.00768/0.020 υg/L* | 0.2 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1-2-Dibromo-3-chloropropane [DBCP] | bar: Site 8a to Site 15a
Ethylene dibromide [EDB] | 0.00394/0.020 υg/L* | 0.05 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Ethylene dibromide [EDB] | bar: Site 8a to Site 15a
Total Petroleum Hydrocarbons [mg/L] | [12 empty] | Total Petroleum Hydrocarbons [mg/L]
Diesel Range | 0.11/0.22 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Diesel Range | bar: Site 8a to Site 15a
Oil Range | 0.11/0.22 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Oil Range | bar: Site 8a to Site 15a
Gasoline Range | 0.250/0.500 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Gasoline Range | bar: Site 8a to Site 15a
Volatile Organic Compounds [ug/L] | [9 empty] | ND |  |  | Volatile Organic Compounds [ug/L]
Acetone | 5.00/10.0 |  |  |  | 6300 υg/L | ND | ND | ND | ND | ND | ND | ND | Acetone | bar: Site 8a to Site 15a
Benzene | 0.500/1.00 | 5 υg/L |  | 0 |  | ND | ND | ND | ND | ND | ND | ND | Benzene | bar: Site 8a to Site 15a
Bromobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromobenzene | bar: Site 8a to Site 15a
Bromodichloromethane | 0.500/1.00 |  | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Bromodichloromethane | bar: Site 8a to Site 15a
Bromoform | 0.500/1.00 |  | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Bromoform | bar: Site 8a to Site 15a
Bromomethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromomethane | bar: Site 8a to Site 15a
MEK | 5.00/10.0 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | MEK | bar: Site 8a to Site 15a
Carbon tetrachloride | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Carbon tetrachloride | bar: Site 8a to Site 15a
Chlorobenzene | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chlorobenzene | bar: Site 8a to Site 15a
Chloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Chloroethane | bar: Site 8a to Site 15a
Chloroform | 0.500/.1.00 |  | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chloroform | bar: Site 8a to Site 15a
Chloromethane | 0.500/1.00 |  | 60 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chloromethane | bar: Site 8a to Site 15a
2-Chlorotoluene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 2-Chlorotoluene | bar: Site 8a to Site 15a
4-Chlorotoluene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 4-Chlorotoluene | bar: Site 8a to Site 15a
Dibromochloromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dibromochloromethane | bar: Site 8a to Site 15a
Dibromomethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dibromomethane | bar: Site 8a to Site 15a
1,2-Dichlorobenzene (o-Dicholorbenzene) | 0.500/1.00 | 600 υg/L | 600 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichlorobenzene | bar: Site 8a to Site 15a
1,3-Dichlorobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,3-Dichlorobenzene | bar: Site 8a to Site 15a
1,4-Dichlorobenzene (p-Dichlorobenzene) | 0.500/1.00 | 75 υg/L | 75 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,4-Dichlorobenzene | bar: Site 8a to Site 15a
Dichlorodifluoromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dichlorodifluoromethane | bar: Site 8a to Site 15a
1,1-Dichloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloroethane | bar: Site 8a to Site 15a
1,2-Dichloroethane | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichloroethane | bar: Site 8a to Site 15a
1,1-Dichloroethene (1,1-Dichloroethylene) | 0.500/1.00 | 7 υg/L | 7 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloroethene | bar: Site 8a to Site 15a
cis-1,2-Dichloroethene (cis-1,2-Dichloroethylene) | 0.500/1.00 | 70 υg/L | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | cis-1,2-Dichloroethene | bar: Site 8a to Site 15a
trans-1,2-Dichloroethene (trans-1,2-Dichloroethylene) | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | trans-1,2-Dichloroethene | bar: Site 8a to Site 15a
1,2-Dichloropropane | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichloropropane | bar: Site 8a to Site 15a
1,3-Dichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,3-Dichloropropane | bar: Site 8a to Site 15a
2,2-Dichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 2,2-Dichloropropane | bar: Site 8a to Site 15a
1,1-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloropropene | bar: Site 8a to Site 15a
cis-1,3-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | cis-1,3-Dichloropropene | bar: Site 8a to Site 15a
trans-1,3-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | trans-1,3-Dichloropropene | bar: Site 8a to Site 15a
Ethylbenzene | 0.500/1.00 | 700 υg/L | 700 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Ethylbenzene | bar: Site 8a to Site 15a
Methylene Chloride (Dicholoromethane) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Methylene Chloride | bar: Site 8a to Site 15a
MTBE (Methyl tert-Butyl Ether) | 2.500/5.00 |  |  |  | 70 υg/L | ND | ND | ND | ND | ND | ND | ND | MTBE | bar: Site 8a to Site 15a
Styrene | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Styrene | bar: Site 8a to Site 15a
1,1,1,2-Tetrachloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,1,2-Tetrachloroethane | bar: Site 8a to Site 15a
1,1,2,2-Tetrachloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,2,2-Tetrachloroethane | bar: Site 8a to Site 15a
Tetrachloroethene (Tetrachloroethylene) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Tetrachloroethene | ND | ND | ND | ND | 1.53 | ND | ND | ND
Toluene | 0.500/1.00 | 1000 υg/L | 1000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Toluene | bar: Site 8a to Site 15a
1,2,3-Trichlorobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,3-Trichlorobenzene | bar: Site 8a to Site 15a
1,2,4-Trichlorobenzene | 0.500/1.00 | 70 υg/L | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,4-Trichlorobenzene | bar: Site 8a to Site 15a
1,1,1-Trichloroethane | 0.500/1.00 | 200 υg/L | 200 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,1-Trichloroethane | bar: Site 8a to Site 15a
1,1,2-Trichloroethane | 0.500/1.00 | 5 υg/L | 3 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,2-Trichloroethane | bar: Site 8a to Site 15a
Trichloroethene (Trichloroethylene) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Trichloroethene | bar: Site 8a to Site 15a
Trichlorofluoromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Trichlorofluoromethane | bar: Site 8a to Site 15a
1,2,3-Trichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,3-Trichloropropane | bar: Site 8a to Site 15a
Vinyl chloride | 0.500/1.00 | 2 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Vinyl chloride | bar: Site 8a to Site 15a
o-Xylene (See Notes) | 0.500/1.00 | 10000 υg/L | 10000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | o-Xylene | bar: Site 8a to Site 15a
m,p-Xylene (See Notes) | 1.00/2.00 | 10000 υg/L | 10000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | m,p-Xylene | bar: Site 8a to Site 15a
Dissolved Gases [ug/L] | [12 empty] | Dissolved Gases [ug/L]
Methane | 0.061/0.50 |  |  |  | See Notes | 6 | <0.50 | 0.76 | 1.2 | 1.8 | <0.50 | <0.50 | Methane | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 | 0.62
Ethane | 0.032/0.20 |  |  |  |  | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | Ethane | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20
Propane | 0.0058/0.20 |  |  |  |  | <0.20 |  | <0.20 | <0.20 |  | <0.20 | <0.20 | Propane | Site 8a: <0.20; Site 9a: <0.20; Site 10a: <0.20
Notes:
* Detection limits varied slightly but were capable of detecting this level or even less
ψ: No more than 5.0% samples total coliform-positive in a month for public water systems (not private wells). For water systems that collect fewer than 40 routine samples per month, no more than one sample can be positive for total coliforms per month. Every sample that has total coliform must be analyzed for either fecal coliforms or E. coli. The MCL for E. coli is violated if the system has an E-coli-positive repeat sample following a total coliform-positive routine sample; or if the system has a total coliform-positive repeat sample following an E. coli-positive routine sample; or if the system fails to take all required repeat samples following an E. coli-positive routine sample; or if the system fails to test for E. coli when any repeat sample tests positive for total coliform.
Xylene: the MCL and MCLG are for total xylenes. (i.e., the sum of o-xylene + m,p-xylene should not exceed 10,000 ug/L)
Glossary
**MCL means Maximum Contaminant Level, the federal standard set by U.S. EPA for the highest level of a contaminant that is allowed in drinking water
**MCLG means Maximum Contaminant Level Goal, set by U.S. EPA as the level below which there is no known or expected risk to health
**2° MCL means Secondary MCL, set by U.S. EPA as non-mandatory water quality standards established for non-health considerations such as taste, color, and odor.
MDL: Method detection limit; The lowest concentration of analyte that can be detected by the method.
ug/L: a unit of measurement which stands for micrograms per liter, equivalent to parts per billion
mg/L: a unit of measurement which stands for milligrams per liter, equivalent to parts per million.
NA: Not applicable
ND: Not detected at the PQL or the MDL
PQL: Practical Quantitation Limit: The lowest verified limit to which data is quantified.
Explanation of Other Standards:
Hardness: The U.S. Geological Survey uses the following scale:
Soft: 0-60 mg/L
Moderately Hard: 61-120 mg/L
Hard: 121-180 mg/L
Very Hard: >180 mg/L
Turbidity: EPA’s drinking water standard for turbidity is a Treatment Technique that applies to public water systems (not private well water). At no time can turbidity exceed 5 NTUs. Some systems must meet lower levels (e.g., less than 1 NTU). Massachusetts standard is 1 NTU.
Alkalinity: University of Wisconsin Extension says 150-200 is the ideal range. The lower the alkalinity, the more likely water is to be corrosive. Water with high alkalinity may contribute to scale (lime) buildup in plumbing.
Nickel: EPA Health Advisory
Sodium: EPA Drinking Water Advisory is 20 mg/L, established for individuals on a 500 mg/day restricted sodium diet. Massachusetts standard is 4 mg/L.
Strontium: EPA Health Advisory
Total Petroleum Hydrocarbons: Massachusetts guideline
Acetone: Massachusetts guideline
MTBE: Massachusetts standard
Methane: The US Department of the Interior Office of Surface Mining recommends the following:
>28 mg/L: potentially explosive or flammable. Immediate ventilation required
10-28 mg/L: warning, remove ignition sources and reduce methane concentrations to <10 mg/L
<10 mg/L: no immediate action needed. Periodically monitor to verify that the concentration has not changed.
Color Codes
indicates results of concern (i.e., levels don’t meet standards/guidelines)
indicates results of possible concern (i.e., levels meet some, but not all, standards/guidelines. For example, results are within federal standards/guidelines, but don’t meet a state standard/guideline)
indicates result of concern (i.e., levels don’t meet standards/guidelines, but fall outside the other end of the range from those highlighted in yellow)
indicates other results of interest