## Sheet1
Parameter | Detection Limit (MDL/PQL) | MCL Standard** | MCL Goal (MCLG) ** | 2º MCL** | Other Standard** | Site 16a | Site 17a | Site 18a | Site 19a | Site 20a | Site 21a | Site 22a | Parameter2 | Site 23a | Site 24a | Site 25a | Site 26a | Site 27a | Site 28 a | Site 29a | Site 30a
Collection Date | [5 empty] | 2018-05-30 | 2018-05-31 | 2018-05-31 | 2018-05-30 | 2018-05-30 | 2018-05-30 | 2018-05-31 |  | 2018-05-31 | 2018-05-31 | 2018-05-30 | 2018-05-30 | 2018-05-30 | 2018-05-30 | 2018-05-30 | 2018-05-31
Miscellaneous | [12 empty] | Miscellaneous
Field pH |  |  |  | 6.5-8.5 |  | 5.62 | 5.9 | 6.12 | 6.36 | 5.97 | 6.27 | 6.07 | Field pH | 6.63 | 5.87 | 6.8 | 5.93 | 5.63 | 6.13 | 6.15 | 5.98
Hardness [mg/L] | 1.00/1.00 |  |  |  | See notes | 12.9 | 15.8 | 10.3 | 32.2 | 24.2 | 34.7 | 27.1 | Hardness [mg/L] | 141 | 80 | 119 | 12 | 8.99 | 26 | 38.5 | 19.6
Turbidity [NTU] | NA/.50 |  |  |  | <1-5 | ND | ND | 5 | ND | ND | 0.74 | ND | Turbidity [NTU] | ND | ND | 1.32 | 1.3 | ND | ND | 0.83 | ND
E-Coli | NA/NA | 0 ψ | 0 |  |  | Absent | Absent | Present | Absent | Absent | Absent | Absent | E-Coli | Present | Absent | Absent | Present | Absent | Absent | Present | Absent
Total Coliform | NA/NA | 5.0% ψ | 0 |  |  | Present | Absent | Present | Absent | Absent | Present | Absent | Total Coliform | Present | Present | Absent | Present | Present | Present | Present | Present
Total Dissloved Solids [mg/L] | 0.5 |  |  | 500 |  | 22 | 39 | 26 | 49 | 44 | 45 | 59 | Total Dissloved Solids [mg/L] | 208 | 197 | 166 | 20 | 19 | 72 | 98 | 32
Alkalinity [mg/L] | NA/20.0 |  |  |  | 150-200 | 15 | 21.6 | 11 | 38.8 | 21.7 | 38.2 | 29.8 | Alkalinity [mg/L] | 108 | 34.6 | 128 | 11.3 | 2.4 | 24.6 | 48.4 | 19.3
Metals [mg/L] | [12 empty] | Metals [mg/L]
Aluminum | 0.006/0.100 |  |  | 0.05-.2 |  | 0.034 | 0.007 | 0.302 | ND | 0.022 | ND | ND | Aluminum | 0.006 | ND | ND | 0.01 | 0.011 | ND | 0.016 | 0.012
Barium | 0.002/0.100 | 2 | 2 |  |  | 0.028 | 0.008 | 0.021 | 0.007 | 0.003 | 0.026 | 0.01 | Barium | 0.278 | 0.182 | 0.134 | 0.016 | 0.012 | 0.085 | 0.004 | 0.009
Calcium | 0.050/1.00 |  |  |  |  | 3.67 | 4.44 | 2.43 | 9.28 | 4.9 | 12.5 | 7.56 | Calcium | 21.6 | 17.2 | 40 | 3.94 | 1.84 | 6.23 | 10.4 | 7.32
Iron | 0.010/0.100 |  |  | 0.3 |  | 0.054 | ND | 0.736 | ND | 0.054 | 0.036 | ND | Iron | 0.014 | ND | 0.139 | ND | ND | 0.021 | 0.036 | 0.027
Lithium | 0.040/0.100 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Lithium | bar: Site 23a to Site 30a
Magnesium | 0.050/0.500 |  |  |  |  | 0.899 | 1.14 | 1.02 | 2.2 | 2.9 | 0.881 | 2 | Magnesium | 21.1 | 9.01 | 4.74 | 0.525 | 1.07 | 2.54 | 3.04 | 0.333
Manganese | 0.003/0.100 |  |  | 0.05 |  | 0.011 | ND | 0.012 | ND | ND | 0.012 | 0.013 | Manganese | ND | 0.008 | 0.152 | ND | ND | 0.006 | 0.01 | 0.007
Nickel | 0.007/0.100 |  |  |  | 0.7 | ND | ND | ND | ND | ND | ND | ND | Nickel | bar: Site 23a to Site 30a
Potassium | 0.070/0.500 |  |  |  |  | 0.884 | 1.12 | 0.739 | 0.997 | 0.2 | 1.38 | 1.23 | Potassium | 3.97 | 3.22 | 2.4 | 0.721 | 0.384 | 1.14 | 0.559 | 0.645
Selenium | 0.020/0.200 | 0.05 | 0.05 |  |  | ND | ND | ND | ND | ND | ND | ND | Selenium | bar: Site 23a to Site 30a
Silica [as SiO2] | 0.100/0.210 |  |  |  |  | 12.2 | 21.4 | 14.4 | 27.2 | 34.6 | 16 | 26.6 | Silica [as SiO2] | 36.3 | 22.1 | 35.7 | 10 | 14 | 29.5 | 52.4 | 7.9
Sodium | 0.100/1.00 |  |  |  | 4-20 | 1.85 | 3.5 | 3.61 | 4.56 | 4.34 | 2.17 | 4.91 | Sodium | 15.3 | 14.2 | 7.39 | 1.17 | 2.53 | 4.74 | 8.9 | 1.42
Strontium | 0.001/0.100 |  |  |  | 20 | 0.021 | 0.045 | 0.024 | 0.07 | 0.067 | 0.051 | 0.061 | Strontium | 0.235 | 0.301 | 0.3 | 0.016 | 0.019 | 0.033 | 0.035 | 0.017
Zinc | 0.004/0.050 |  |  | 5 |  | 0.071 | 0.014 | ND | 0.011 | 0.022 | 0.062 | 0.008 | Zinc | 0.009 | 0.048 | ND | 0.006 | 0.013 | 0.037 | 0.023 | 0.239
Antimony | 0.0003/0.0010 | 0.006 | 0.006 |  |  | ND | ND | ND | ND | ND | ND | ND | Antimony | bar: Site 23a to Site 30a
Arsenic | 0.0010/0.0050 | 0.01 | 0 |  |  | ND | ND | ND | 0.001 | ND | ND | 0.0013 | Arsenic | ND | ND | 0.0014 | ND | ND | ND | ND | ND
Beryllium | 0.0002/0.0010 | 0.004 | 0.004 |  |  | ND | ND | ND | ND | ND | ND | ND | Beryllium | bar: Site 23a to Site 30a
Cadmium | 0.0002/0.0010 | 0.005 | 0.005 |  |  | ND | ND | ND | ND | ND | ND | ND | Cadmium | bar: Site 23a to Site 30a
Chromium | 0.0010/0.0050 | 0.1 | 0.1 |  |  | 0.0017 | ND | ND | ND | 0.0015 | 0.0036 | 0.0016 | Chromium | 0.0025 | ND | ND | ND | 0.0014 | 0.0017 | ND | ND
Copper | 0.0010/0.0050 | 1.3 | 1.3 | 1 |  | 0.184 | 0.0164 | ND | 0.025 | 0.0098 | 0.0097 | 0.016 | Copper | 0.0117 | 0.0045 | 0.001 | 0.0039 | 0.0177 | 0.067 | 0.024 | 0.0118
Lead | 0.0002/0.0010 | 0.015 | 0 |  |  | 0.0092 | 0.0016 | 0.0004 | 0.0017 | 0.0004 | 0.0006 | 0.0004 | Lead | 0.0003 | 0.0002 | ND | 0.0003 | 0.001 | 0.0034 | 0.0018 | 0.0015
Silver | 0.0010/0.0050 |  |  | 0.1 |  | ND | ND | ND | ND | ND | ND | ND | Silver | bar: Site 23a to Site 30a
Mercury | 0.0001/0.0010 | 0.002 | 0.002 |  |  | ND | ND | ND | ND | ND | ND | ND | Mercury | bar: Site 23a to Site 30a
Inorganics - Anions [mg/L] | [12 empty] | Inorganics - Anions [mg/L]
Bromide | 0.05/0.10 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromide | bar: Site 23a to Site 30a
Chloride | 0.20/1.00 |  |  | 250 |  | 1.38 | 1.25 | 3.88 | 0.99 | 4.51 | 1.48 | 2.11 | Chloride | 9.89 | 25.2 | 1.74 | 1.07 | 1.46 | 3.17 | 3.29 | 1.7
Fluoride | 0.05/0.20 | 4 | 4 | 2 |  | ND | 0.05 | 0.63 | 0.08 | 0.06 | ND | 0.09 | Fluoride | 0.22 | ND | 0.24 | ND | ND | ND | ND | ND
Sulfate | 1.00/5.00 |  |  | 250 |  | ND | 1.66 | ND | 2.51 | ND | ND | 3.08 | Sulfate | 23.9 | 11 | 4.89 | ND | ND | 3.86 | ND | ND
Nitrogen, Nitrate | 0.04/0.20 | 10 | 10 |  |  | 0.06 | 0.03 | 0.17 | 0.04 | 1.01 | 0.22 | 0.99 | Nitrogen, Nitrate | 7.36 | 10.4 | ND | 0.04 | 0.45 | 0.98 | 1.06 | 0.13
Nitrogen, Nitrite | 0.05/0.50 | 1 | 1 |  |  | ND | ND | ND | ND | ND | ND | ND | Nitrogen, Nitrite | bar: Site 23a to Site 30a
Orthophosphate [As P] | 0.05/0.10 |  |  |  |  | ND | 0.05 | ND | ND | 0.14 | ND | ND | Orthophosphate [As P] | 0.06 | ND | ND | ND | ND | ND | ND | ND
Semi-volatile Organics [υg/L] | [12 empty] | Semi-volatile Organics [mg/L]
1-2-Dibromo-3-chloropropane [DBCP] | 0.00768/0.020 υg/L* | 0.2 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1-2-Dibromo-3-chloropropane [DBCP] | bar: Site 23a to Site 30a
Ethylene dibromide [EDB] | 0.00394/0.020 υg/L* | 0.05 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Ethylene dibromide [EDB] | bar: Site 23a to Site 30a
Total Petroleum Hydrocarbons [mg/L] | [12 empty] | Total Petroleum Hydrocarbons [mg/L]
Diesel Range | 0.11/0.22 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Diesel Range | ND | ND | ND | ND | ND | ND | 0.13 | ND
Oil Range | 0.11/0.22 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Oil Range | bar: Site 23a to Site 30a
Gasoline Range | 0.250/0.500 |  |  |  | 0.2 | ND | ND | ND | ND | ND | ND | ND | Gasoline Range | bar: Site 23a to Site 30a
Volatile Organic Compounds [ug/L] | [12 empty] | Volatile Organic Compounds [ug/L]
Acetone | 5.00/10.0 |  |  |  | 6300 υg/L | ND | ND | ND | ND | ND | ND | ND | Acetone | bar: Site 23a to Site 30a
Benzene | 0.500/1.00 | 5 υg/L |  | 0 |  | ND | ND | ND | ND | ND | ND | ND | Benzene | bar: Site 23a to Site 30a
Bromobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromobenzene | bar: Site 23a to Site 30a
Bromodichloromethane | 0.500/1.00 |  | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Bromodichloromethane | bar: Site 23a to Site 30a
Bromoform | 0.500/1.00 |  | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Bromoform | bar: Site 23a to Site 30a
Bromomethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Bromomethane | bar: Site 23a to Site 30a
MEK | 5.00/10.0 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | MEK | bar: Site 23a to Site 30a
Carbon tetrachloride | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Carbon tetrachloride | bar: Site 23a to Site 30a
Chlorobenzene | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chlorobenzene | bar: Site 23a to Site 30a
Chloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Chloroethane | bar: Site 23a to Site 30a
Chloroform | 0.500/.1.00 |  | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chloroform | ND | ND | ND | 1.16 | ND | ND | ND | ND
Chloromethane | 0.500/1.00 |  | 60 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Chloromethane | bar: Site 23a to Site 30a
2-Chlorotoluene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 2-Chlorotoluene | bar: Site 23a to Site 30a
4-Chlorotoluene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 4-Chlorotoluene | bar: Site 23a to Site 30a
Dibromochloromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dibromochloromethane | bar: Site 23a to Site 30a
Dibromomethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dibromomethane | bar: Site 23a to Site 30a
1,2-Dichlorobenzene (o-Dicholorbenzene) | 0.500/1.00 | 600 υg/L | 600 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichlorobenzene | bar: Site 23a to Site 30a
1,3-Dichlorobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,3-Dichlorobenzene | bar: Site 23a to Site 30a
1,4-Dichlorobenzene (p-Dichlorobenzene) | 0.500/1.00 | 75 υg/L | 75 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,4-Dichlorobenzene | bar: Site 23a to Site 30a
Dichlorodifluoromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Dichlorodifluoromethane | bar: Site 23a to Site 30a
1,1-Dichloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloroethane | bar: Site 23a to Site 30a
1,2-Dichloroethane | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichloroethane | bar: Site 23a to Site 30a
1,1-Dichloroethene (1,1-Dichloroethylene) | 0.500/1.00 | 7 υg/L | 7 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloroethene | bar: Site 23a to Site 30a
cis-1,2-Dichloroethene (cis-1,2-Dichloroethylene) | 0.500/1.00 | 70 υg/L | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | cis-1,2-Dichloroethene | bar: Site 23a to Site 30a
trans-1,2-Dichloroethene (trans-1,2-Dichloroethylene) | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | trans-1,2-Dichloroethene | bar: Site 23a to Site 30a
1,2-Dichloropropane | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2-Dichloropropane | bar: Site 23a to Site 30a
1,3-Dichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,3-Dichloropropane | bar: Site 23a to Site 30a
2,2-Dichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 2,2-Dichloropropane | bar: Site 23a to Site 30a
1,1-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1-Dichloropropene | bar: Site 23a to Site 30a
cis-1,3-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | cis-1,3-Dichloropropene | bar: Site 23a to Site 30a
trans-1,3-Dichloropropene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | trans-1,3-Dichloropropene | bar: Site 23a to Site 30a
Ethylbenzene | 0.500/1.00 | 700 υg/L | 700 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Ethylbenzene | bar: Site 23a to Site 30a
Methylene Chloride (Dicholoromethane) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Methylene Chloride | bar: Site 23a to Site 30a
MTBE (Methyl tert-Butyl Ether) | 2.500/5.00 |  |  |  | 70 υg/L | ND | ND | ND | ND | ND | ND | ND | MTBE | bar: Site 23a to Site 30a
Styrene | 0.500/1.00 | 100 υg/L | 100 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Styrene | bar: Site 23a to Site 30a
1,1,1,2-Tetrachloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,1,2-Tetrachloroethane | bar: Site 23a to Site 30a
1,1,2,2-Tetrachloroethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,2,2-Tetrachloroethane | bar: Site 23a to Site 30a
Tetrachloroethene (Tetrachloroethylene) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Tetrachloroethene | bar: Site 23a to Site 30a
Toluene | 0.500/1.00 | 1000 υg/L | 1000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | Toluene | bar: Site 23a to Site 30a
1,2,3-Trichlorobenzene | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,3-Trichlorobenzene | bar: Site 23a to Site 30a
1,2,4-Trichlorobenzene | 0.500/1.00 | 70 υg/L | 70 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,4-Trichlorobenzene | bar: Site 23a to Site 30a
1,1,1-Trichloroethane | 0.500/1.00 | 200 υg/L | 200 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,1-Trichloroethane | bar: Site 23a to Site 30a
1,1,2-Trichloroethane | 0.500/1.00 | 5 υg/L | 3 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | 1,1,2-Trichloroethane | bar: Site 23a to Site 30a
Trichloroethene (Trichloroethylene) | 0.500/1.00 | 5 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Trichloroethene | bar: Site 23a to Site 30a
Trichlorofluoromethane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | Trichlorofluoromethane | bar: Site 23a to Site 30a
1,2,3-Trichloropropane | 0.500/1.00 |  |  |  |  | ND | ND | ND | ND | ND | ND | ND | 1,2,3-Trichloropropane | bar: Site 23a to Site 30a
Vinyl chloride | 0.500/1.00 | 2 υg/L | 0 |  |  | ND | ND | ND | ND | ND | ND | ND | Vinyl chloride | bar: Site 23a to Site 30a
o-Xylene (See Notes) | 0.500/1.00 | 10000 υg/L | 10000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | o-Xylene | bar: Site 23a to Site 30a
m,p-Xylene (See Notes) | 1.00/2.00 | 10000 υg/L | 10000 υg/L |  |  | ND | ND | ND | ND | ND | ND | ND | m,p-Xylene | bar: Site 23a to Site 30a
Dissolved Gases [ug/L] | [12 empty] | Dissolved Gases [ug/L]
Methane | 0.061/0.50 |  |  |  | See Notes | 0.58 | <0.50 | 5.2 | <0.50 | 1.2 | 0.52 | <0.50 | Methane | <0.50 |  | <0.50 | 0.56 | <0.50 | <0.50 | 3.7 | <0.50
Ethane | 0.032/0.20 |  |  |  |  | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | Ethane | <0.20 |  | <0.20 | <0.20 | <0.20 | <0.20 | <0.20 | <0.20
Propane | 0.0058/0.20 | [11 empty] | Propane
Notes:
* Detection limits varied slightly but were capable of detecting this level or even less
ψ: No more than 5.0% samples total coliform-positive in a month for public water systems (not private wells). For water systems that collect fewer than 40 routine samples per month, no more than one sample can be positive for total coliforms per month. Every sample that has total coliform must be analyzed for either fecal coliforms or E. coli. The MCL for E. coli is violated if the system has an E-coli-positive repeat sample following a total coliform-positive routine sample; or if the system has a total coliform-positive repeat sample following an E. coli-positive routine sample; or if the system fails to take all required repeat samples following an E. coli-positive routine sample; or if the system fails to test for E. coli when any repeat sample tests positive for total coliform.
Xylene: the MCL and MCLG are for total xylenes. (i.e., the sum of o-xylene + m,p-xylene should not exceed 10,000 ug/L)
Glossary
**MCL means Maximum Contaminant Level, the federal standard set by U.S. EPA for the highest level of a contaminant that is allowed in drinking water
**MCLG means Maximum Contaminant Level Goal, set by U.S. EPA as the level below which there is no known or expected risk to health
**2° MCL means Secondary MCL, set by U.S. EPA as non-mandatory water quality standards established for non-health considerations such as taste, color, and odor.
MDL: Method detection limit; The lowest concentration of analyte that can be detected by the method.
ug/L: a unit of measurement which stands for micrograms per liter, equivalent to parts per billion
mg/L: a unit of measurement which stands for milligrams per liter, equivalent to parts per million.
NA: Not applicable
ND: Not detected at the PQL or the MDL
PQL: Practical Quantitation Limit: The lowest verified limit to which data is quantified.
Explanation of Other Standards:
Hardness: The U.S. Geological Survey uses the following scale:
Soft: 0-60 mg/L
Moderately Hard: 61-120 mg/L
Hard: 121-180 mg/L
Very Hard: >180 mg/L
Turbidity: EPA’s drinking water standard for turbidity is a Treatment Technique that applies to public water systems (not private well water). At no time can turbidity exceed 5 NTUs. Some systems must meet lower levels (e.g., less than 1 NTU). Massachusetts standard is 1 NTU.
Alkalinity: University of Wisconsin Extension says 150-200 is the ideal range. The lower the alkalinity, the more likely water is to be corrosive. Water with high alkalinity may contribute to scale (lime) buildup in plumbing.
Nickel: EPA Health Advisory
Sodium: EPA Drinking Water Advisory is 20 mg/L, established for individuals on a 500 mg/day restricted sodium diet. Massachusetts standard is 4 mg/L.
Strontium: EPA Health Advisory
Total Petroleum Hydrocarbons: Massachusetts guideline
Acetone: Massachusetts guideline
MTBE: Massachusetts standard
Methane: The US Department of the Interior Office of Surface Mining recommends the following:
>28 mg/L: potentially explosive or flammable. Immediate ventilation required
10-28 mg/L: warning, remove ignition sources and reduce methane concentrations to <10 mg/L
<10 mg/L: no immediate action needed. Periodically monitor to verify that the concentration has not changed.
Color Codes
indicates results of concern (i.e., levels don’t meet standards/guidelines)
indicates results of possible concern (i.e., levels meet some, but not all, standards/guidelines. For example, results are within federal standards/guidelines, but don’t meet a state standard/guideline)
indicates result of concern (i.e., levels don’t meet standards/guidelines, but fall outside the other end of the range from those highlighted in yellow)
indicates other results of interest